## Sheet1
| 2023 pricing | pricing dated 1/31/2023
All pricing is in U.S. dollars and subject to change. All prices F.O.B. Chattanooga, TN
|  |  | List Price | Sourcewell member price (15%, freight not included)
HT444PC | 18 HP , Tier 4 final Diesel and/or JP-8 |  | 42621.43 | 36228.2155
| Caterpillar Engine, availability conditional |  | 2571.4286 | 2185.7143
Auto-start control system for low battery start/charging system
LED Light Tower, Portable Hyw Mount
10 KW Generator
| 500 watt solar panels |  |  |  | `
Auto switch between battery, solar, generator or 120v auxiallary power
Lighting timer controls, PhotoCell for auto-start lights
| Two (2) 330 amp/hr Lithium Batteries or Bank of four (4) 220 amp/h batteriers | Choice of
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
Dual Battery Recharging System * This is now standard Equipment
30 ft max mast height
Hyw Trailer Mount
SP493ST | 900 watts total solar, (3, 300 watt solar panels) |  | 23464.2857 | 19944.6429
4 LED DOT Anti-Glare Compliant Lights, 280 Watts
Lighting timer controls, PhotoCell for auto-start lights
330 amp/hr lithium battery
20 ft max height, vertical mast
Auto switch between solar or 120v auxiallary power
HT444PCT | TACTICAL Unit - Same features as HT444PC w/upgrades to meet Navy and Air Force stds |  | 55221.4286 | 46938.2143
Including:
Rail Tie Down Standards
14" High Axle Tires
Light Transport Pockets
Multiple electrical panel outlets including 24 volt universal jump start
Additional LED LENS change-out patterns
SP400SD | 18 HP , Tier 4 final Diesel and/or JP-8 |  | 28500 | 24225
| Caterpillar Engine, availability conditional |  | 2571.4286 | 2185.7143
LED Light Tower, Portable Hyw Mount
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
10 KW Generator
Auto switch between generator or 120v auxiallary power
HT444H | Honda iGX270 |  | 37785.7143 | 32117.8571
Auto-start control system for low battery start/charging system
LED Light Tower, Portable Hyw Mount
5 KW Generator
500 watt solar panels
Lighting timer controls
Bank of four (4) 220 amp/h batteriers
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
HT444D | Honda iGX270 Duel Fuel Gasoline/Propane |  | 39214.2857 | 33332.1429
Auto-start control system for low battery start/charging system
LED Light Tower, Portable Hyw Mount
5 KW Generator
500 watt solar panels
Lighting timer controls
Bank of four (4) 220 amp/h batteriers
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
HT444K | No longer Available
Engine out of production
SP400D | Honda iGX270 |  | 22121.4286 | 18803.2143
LED Light Tower, Portable Hyw Mount
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
5 KW Generator
SP400E | Electric LED Light Tower, Portable Hyw Mount |  | 17857.1429 | 15178.5714
4 LED DOT Anti-Glare Compliant Lights,1280 Watts, w/Dimmer Controls
SP529 | No longer Available
SP530 | LED Light, Individual Refit, 320 watt, Each |  | 1407.1429 | 1196.0714
Options
| Additional 100 Watt (total) Solar Panels each, Monocrystalline | SP536 | 550 | 467.5
Lithium Batteries - Now a stanard offering
| Dual QC Light Assembly for Additional Mast Lighting, Maximum of two (2) Assemblies | SP109 | 4497.1429 | 3822.5714
| Cold Weather Battery Insulation | SP803 | 691.4286 | 587.7143
| Remote Camera System | SP2001 | 12078.5714 | 10266.7857
| High Resolution Video Curtain, 4.5' x 6.75' | SP2070 | 17650 | 15002.5
| Low Resolution Video Curtain, 4.5' x 6.75' | SP2071 | 11205.7143 | 9524.8571
| Guarded Electric Winches for raising mast | SP590 | 2078.5714 | 1766.7857
| Quick Connect Signage Hardware | SP105 | 491.4286 | 417.7143
| Remote Tripod Assembly | SP210 | 692.8571 | 588.9286
| Quick Connect Mast Advertisement | SP108 | POR
| Homeland Security Approved Remote Lighting Control | SP2105 | POR
| Translucent Vinyl Signage, 4 color , 4’x6 | SP2075 | POR
| Wind Turbine | SP3001 | 8051.4286 | 6843.7143